Request For Proposals (RFP) 2026-0805GHA

Install New Windows, Window Screens & Screen Doors-GHA Highland

Addendum #1
Part IV- Scope Of Services 
The Respondent shall perform such services as required by the GHA/ACHA to complete the work as defined herein and shall provide labor, equipment, and services necessary to perform and complete, in an acceptable manner, the tasks contemplated or otherwise required herein accordance with the original Scope of Services listed in RFP 2026-0805GHA- and the following additional items and clarifications:

A. The addresses are:
125-140 Highland St, Goodwater, Al 35072

B. 156 Windows and 32 Screen Doors total in four 2- Story Buildings and two 1- Story Building

C. Window Schedule is as follows (mullioned windows are two windows of the same size listed)

· (Qty 4)  
3’–0”x 5’-0” 
Lower Level

· (Qty 8)
3’-0”x 5’-0”
Mullioned Lower Level
· (Qty 8)
2’-8”x 3’-8”
Mullioned Lower Level

· (Qty 4)
2’-0”x 3’-0”
Lower Level
· (Qty 10)
2’-0”x 3’-0”
Upper Level

· (Qty 4)
3’-0”x 3’-8”
Lower Level

· (Qty 8)
3’-0”x 3’-8”
Mullioned Upper Level

· (Qty 32)
2’-8”x 3’-8”
Lower Level

· (Qty 4)
2’-8”x 3’-8”
Mullioned Lower Level
· (Qty 24)
2’-8”x 3’-8”
Upper Level

· (Qty 12)
2’-0”x 3’-8”
Mullioned Lower Level
· (Qty 4)
2’-0”x 3’-8”
Upper Level

· (Qty 16)
2’-0”x 3’-8”
Mullioned Upper Level

· (Qty 6)
2’-0”x 5’-0”
Lower Level

· (Qty 12)
2’-0”x 5’-0”
Mullioned Lower Level

D. Windows to be trimmed with wood to match the original window trim and casing. ACHA is supplying all windows, screens, screen doors, trim and paint
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